L-07 Photon Tender Skin Machine

Large probe is for face

Small probe is for eye around.

Specification of the machine:

Voltage: AC220V/110V

Frequency: 50/60HZ

Power: 13.5W

Measurement: 33x30.5x20.5 (CM3)

Net weight: 5 KGS

FrontPage:

The photon treatment has a very long history. The ancient Greece has once used sunlight to treat diseases.

Besides supply heat and light, the sunlight maintains the normal function of our physiology system. The human being must transfer the sunlight into energy to have ended metabolism and internal secretion.

The sunlight has light adjusting process, helping people to absorb Vitamin D, to strengthen the density of the bone and consolidate the immunity system and adjust internal section.

Light is the visible part of the electromagnetism radialization spectrum, such as rainbow.

Light is decentralization of kinds of colors (red, orange, green, green and blue, purple, yellow).Color is decided by wave-length, and the light with different wavelength have different function on skin.

Red light: stimulate and active skin, promote blood circulation, stimulate the feeling organs of the human body;

Yellow light: strengthen and stimulate function, promote the gland function, assistant assimilation, strengthen immunity;

Orange light: restrain the strong of red light and restrict the activity of yellow light, can strengthen energy gradually, have effective treatment on metabolism;

Green light: can balance, calm, and counteract skin;

Green and blue light: comfort and appease skin, have anti-sensitive and sensitive-resist functions;

Blue light: promote albumen and ossein compand, rejuvenate skins, tight drooping skins and gestation.

Purple light: lymph drainage, adjust circulation, weaker than red light.

Photon tender technique is a light wave technique, and a newest one at present. At past only the dermatologist can use it to cure ageing skin, including dark skin wrinkle, slacken and sink skin, pigment, scar and abnormity of skin.

And now the beauty industry uses the newest technique into our everyday nurse, by using the impulse light with different wavelength to cure skin.

## The importance of skin tender machine

The treatment course is the most important part in purity, moistening and firming. Deeply active skin is to reestablish the tissue of skin and withstand ageing phenomenon, effectively active and repair cell, to bring you white and clean skin; the skin tender machine can stimulate the compound and metabolism of cell, accelerate the form of cell and rebirth of collagen of bone. Make the treatment be long lasting and obvious effective. Cure the question skin drastically.

## The care point of skin tender machine

The treatment can choose different intensity, frequency and time to be parameter and take treatment appoint to different problems. Analyze the type of the skin first to choose the suitable nurse process. It must observe the change of skin during the nurse of adjusting suitable treatment time and intensity. It’d be better till the skin turn light red. The treatment time is about one hour, one other day a time to take cure, three or five days to take care.

During the operation, suggest the guest to close eyes but do not see the light directly, to avoid the uncomfortable made by strong light radiation. When do on neck, should not stick on thyroid gland to long, avoiding stimulating the thyroid gland. The probe must touch skin. The beautician must be familiar with the operation before use to make sure the effect of nurse.

The function of skin tender machine:

- Desalt kinds of splash and age spot;

- Console fine lines and crow’s-feet;

- Reduce or dispel acne and scar;

- Promote the activity of collagen and cell;

- Lift skin;

- Repair extend capillary vessel of face;

- Shrink pore and firm skin;

- Whiten and moisture;

- Strengthen lymph drainage and blood circulation;

- Diminish inflammation and kill bacteria, cure sore.

The start process of skin tender machine:

- Connect electric iron and power;

- Press switch to start the machine;

- Insert the probe into the output interface in the right;

- Choose the corresponding parameter of nurse.

The use steps and skill:

- Clean face by cleanser;

- Apply lotion to balance the secretion of grease;

- By using photon radiation for 1minute to assistant skin to absorb;

- Apply massage cream equally on face and neck, operate according to the texture to firm skin and keep the skin moisture. Operate about 5-8 minutes each side of face;

- Tidy the remaining massage cream;

- Apply enough essence on face, and induce essence as the same ploy of the above,5-8minutes for each side of face to make the absolute absorb and active the cell;

- Use small probe, operate on the whole face for 2minutes by Z type ploy. Apply essence on eyes and operate from outside corner to inside corner of eye for about one minute. Repeat on the other part of face.

- Apply nourishing mask. Except for the soft mask, operation of other mask is same as above tact till the mask is light dry. About 20minutes is ok. It will be double-repaired and will recover white and vernal;

- Clean the mask by clean water;

- Apply lotion and massage lightly to make it absorbed;

- Apply suntan oil to avoid the damage by ultraviolet radiation.

## Notice of skin tender machine

- Please read the use manual carefully before use;

- Suggest use corresponding nurse cosmetics to match the nurse after operation, avoid using stimulated products and sunlight and cold or hot wind, keep moisture timelessly;

- Use it carefully if injected steroid, cortisone, pregnant woman;

- Do not locate the machine in wet place;

- Do not locate the machine in inclined place;

- If trouble occurred, please contact the manufacturer and do not tear down the machine by yourself to avoid other damage.

The operation indication list

| Skin type | Intensity | Frequency |
| --- | --- | --- |
| Sensitive skin | 1-4case | 32-64 |
| Neutral skin | 5-7case | 16-32 |
| Problematic skin | 6-7case | 1-8 |
| Acne skin | 6-7case | 2-4 |
| Fine lines | 6-7case | 2-4 |
| Aging skin | 6-7case | 1-2 |

The frequency of impulse and nurse function of the machine

| Nurse program | Frequency | Period of therapy | Remarks |
| --- | --- | --- | --- |
| Whiten and moisture | 16 or 32 | 3days a time, 10times continuously | If need lock water after nurse, choose 64 |
| Diminish Inflammation Remove blain | 4 or 8 | 2 days a time, 10times continuously | Stimulate dermal layer |
| Remove wrinkle Lift skin | 2 or 4 | 3days a time, 10times continuously | Stimulate dermis tissue |
| Dispel spot | 8 or 16 | 3days a time, 15times continuously | Decompose deep pigment |
| Dispel speckle | 16 or 32 | 5days a time, 10times continuously | Restore epidermis cell |